## overview
Optics | 28125
Stage | 3012
Base Damping | 788
Lego | 1896
Electroics | 8093
41914
0

## Optics
| Description | Price | Link
Bright-Field condenser | ACL12708U | 678 | https://www.thorlabs.com/item/ACL12708U?aID=f9abf3060ac4001787dec53829fb8b65&aC=1
Fluorescence condenser | 25mm Dia x 20mm FL, MgF2 Coated, Molded Aspheric Condenser Lens | 1391 | https://www.edmundoptics.com/p/25mm-dia-x-20mm-fl-mgfsub2sub-coated-molded-aspheric-condenser-lens/43075/
Diffuser | 25mm Diameter 600 Grit Ground Glass Diffuser | 604 | 25mm Diameter 600 Grit Ground Glass Diffuser ¦ Edmund Optics
Exceited filter | #15-257 | 4025 | https://www.edmundoptics.com.tw/p/500nm-25mm-dia-od-20-shortpass-filter/43489/
Emission filter | DMLP490 | 6774 | https://www.thorlabs.com/thorproduct.cfm?partnumber=DMLP490
Dichroic mirror | FGL495 | 1482 | https://www.thorlabs.com/thorproduct.cfm?partnumber=FGL495
Objective Lens | Olympus PLN 10X Objective | 13171 | Olympus PLN 10X Objective ¦ Edmund Optics
28125

## Stage
| Description | Quantity | price | $ | Link
滑軌 | 滑軌組245mm | 1 | 470 | 470 | https://shopee.tw/%E3%80%90%E4%B8%8D%E5%9B%89%E5%97%A624H%E9%80%81%E5%87%BA%E3%80%91%E7%B7%9A%E6%80%A7%E6%BB%91%E8%BB%8C-%E7%B7%9A%E8%BB%8C-MGN12-%E6%BB%91%E8%BB%8C-%E7%9B%B4%E7%B7%9A%E6%BB%91%E8%BB%8C-%E5%BE%AE%E5%9E%8B%E5%B0%8E%E8%BB%8C-%E7%9F%AD%E7%89%88-%E9%95%B7%E7%89%88-%E6%A8%99%E6%BA%96%E6%BB%91%E5%A1%8A-%E9%95%B7%E5%BA%A695-395mm-i.3743756.25933066211
| 滑軌組195mm | 2 | 440 | 880
| 滑軌組145mm | 1 | 415 | 415
T8螺桿 | 200mm,導程2 | 1 | 220 | 220 | https://shopee.tw/%E3%80%90%E4%B8%8D%E5%9B%89%E5%97%A624H%E9%80%81%E5%87%BA%E3%80%91T8%E8%9E%BA%E6%A1%BF-%E5%B0%8E%E7%A8%8B2-4-8-14mm-%E5%B0%8E%E7%A8%8B-%E9%95%B7%E5%BA%A6100-400mm-T8-%E5%82%B3%E5%8B%95-%E8%9E%BA%E6%A1%BF-%E8%A7%92%E7%89%99-%E6%A2%AF%E5%9E%8B%E8%9E%BA%E6%A1%BF-i.3743756.449821830
| 150mm,導程2 | 1 | 180 | 180
| 100mm,導程2 | 1 | 130 | 130
T8螺帽 | T8銅螺帽_牙孔 | 2 | 60 | 120 | https://shopee.tw/%E3%80%90%E4%B8%8D%E5%9B%89%E5%97%A624H%E9%80%81%E5%87%BA%E3%80%91T8-T10-T12-%E9%8A%85%E8%9E%BA%E6%AF%8D-%E6%B6%88%E9%96%93%E9%9A%99%E8%9E%BA%E6%AF%8D-%E5%B0%8E%E7%A8%8B2%E3%80%814%E3%80%818%E3%80%8114-T10%E8%9E%BA%E6%AF%8D-T8%E8%9E%BA%E6%AF%8D-%E5%82%B3%E5%8B%95%E8%9E%BA%E5%B8%BD-i.3743756.203648891
T8消間隙螺帽 | T8消間隙銅螺帽_無牙孔 | 1 | 80 | 80 | https://shopee.tw/%E3%80%90%E4%B8%8D%E5%9B%89%E5%97%A624H%E9%80%81%E5%87%BA%E3%80%91T8-T10-T12-%E9%8A%85%E8%9E%BA%E6%AF%8D-%E6%B6%88%E9%96%93%E9%9A%99%E8%9E%BA%E6%AF%8D-%E5%B0%8E%E7%A8%8B2%E3%80%814%E3%80%818%E3%80%8114-T10%E8%9E%BA%E6%AF%8D-T8%E8%9E%BA%E6%AF%8D-%E5%82%B3%E5%8B%95%E8%9E%BA%E5%B8%BD-i.3743756.203648891
聯軸器 | A孔徑5,B孔徑8 | 3 | 60 | 180 | https://shopee.tw/%E3%80%90%E4%B8%8D%E5%9B%89%E5%97%A624H%E9%80%81%E5%87%BA%E3%80%91%E8%81%AF%E8%BB%B8%E5%99%A8-%E9%8B%81%E5%90%88%E9%87%91-%E5%A4%9A%E5%B0%BA%E5%AF%B8-%E5%85%A7%E5%BE%913-10-%E5%BD%88%E6%80%A7%E8%81%AF%E8%BB%B8%E5%99%A8-(-%E9%80%A3%E8%BB%B8%E5%99%A8-3D%E5%88%97%E5%8D%B0-%E6%AD%A5%E5%BE%91-%E8%BB%B8%E5%BF%83-%E5%BD%88%E6%80%A7%E8%81%AF%E8%BB%B8%E5%99%A8)-i.3743756.1367558201
軸承 | MR148_(8x14x4mm) | 3 | 15 | 45 | 【不囉嗦24H送出】滾珠軸承 多尺寸 內徑7-8mm 薄型軸承 微型軸承 bearing 培林 軸承 軸承鋼 ¦ 蝦皮購物
M3螺絲 | 8mm | 3 | 26 | 78 | 【不囉嗦24H送出】M3 螺絲 長度3-150mm M3x0.5P 全牙 圓頭內六角 加長螺絲 304不鏽鋼 機械牙 ¦ 蝦皮購物
| 12mm | 3 | 26 | 78
| 30mm | 2 | 32 | 64
M3螺帽 | M3_邊5.5厚2.3 | 3 | 24 | 72 | 【不囉嗦24H送出】M2 M3 M4 M5 M6 M8 M10 M12 1/4 5/16 四方螺母 方螺母 鋁擠型 ¦ 蝦皮購物
3012

## Base damping
| Description | Quantity | price | $ | Link
石板 | 30x30 | 1 | 698 | 698 | 天然大理石板﹝大尺寸頁面﹞ 花崗 岩板 烘焙 揉麵板 刀切砧板 中島檯面 工作桌墊 炙燒墊板 音響墊 皮雕金工 敲擊桌板 ¦ 蝦皮購物
減震墊 | 30x30 | 1 | 90 | 90 | 睿傑工業-現貨 厚1cm 橡膠墊 政府立案 可開收據 橡膠板 機車墊 水溝墊 止滑墊 洗衣機墊 絕緣 防震 緩衝 台灣製 ¦ 蝦皮購物
788

## Lego
BLItemNo | PartName | Qty | price | $
2465 | Brick 1 x 16 | 10 | 50 | 500 | Bidbuy4u
3004 | Brick 1 x 2 | 58 | 4 | 232
2456 | Brick 2 x 6 | 56 | 10 | 560
300326 | Brick 2x2 | 10 | 5 | 50
300126 | Brick 2x4 | 4 | 9 | 36
300726 | Brick 2x8 | 5 | 12 | 60
2357 | Corner 2 x 2 | 52 | 4 | 208
11026 | Baseplate | 1 | 250 | 250
1896

## Electronic
| Description | Quantity | price | $ | Link
Raspberry pi 5 16G |  | 1 | 4080 | 4080 | SC1113 Raspberry Pi ¦ Mouser 臺灣
Raspberry pi camera v2 |  | 1 | 510 | 510 | SC0023 Raspberry Pi ¦ Mouser 臺灣
camera cable |  | 1 | 102 | 102 | SC1130 Raspberry Pi ¦ Mouser 臺灣
Active cooler |  | 1 | 170 | 170 | SC1148 Raspberry Pi ¦ Mouser 臺灣
Arduino Uno R3 |  | 1 | 200 | 200
CNC shield v3 |  | 1 | 50 | 50
TMC2209 |  | 3 | 88 | 264
Nema17 | 42BYG34 | 3 | 185 | 555 | 【環島科技】42 步進馬達 型號齊全 42BYG 步進馬達 台灣現貨 3D印表機 步進電機 NEMA17 驅動控制器 ¦ 蝦皮購物
恆壓恆流模組 | XL4015 | 2 | 90 | 180
LED White | 6500 K, 70 CRI Starboard XQE | 1 | 365 | 365 | XQEAWT-H0-0000-00000BFE1-SB01 New Energy ¦ Mouser 臺灣
LED Blue | LZ4- 40B208 | 1 | 558 | 558
繼電器模組 | JQC-3FF 5V | 1 | 25 | 25
Laser Diode | sharp 80mw 5.6mm | 1 | 463 | 463 | https://shopee.tw/%E5%85%A8%E6%96%B0-450nm-445nm-%E8%97%8D%E5%85%89%E9%9B%B7%E5%B0%84%E4%BA%8C%E6%A5%B5%E9%AB%94-5.6mm-80mw-1.6w-LD-laser-diode-i.1144085257.46054340871?xptdk=f45a144c-a2df-4fcc-bc2c-c93b51dfd8b1
Housing Case | 方殼33*50 適配5.6二級管 | 1 | 571 | 571 | https://shopee.tw/%E5%A4%A7%E8%B3%A3-%E6%BF%80%E5%85%89%E4%BA%8C%E6%A5%B5%E7%AE%A1%E5%A4%96%E6%AE%BC%E4%BA%94%E9%87%91%E4%BB%B6%E6%A8%A1%E7%B5%84-%E9%85%8D%E4%BB%B6%E7%B5%84%E8%A3%9D%E9%8F%A1%E7%89%87%E7%B5%84-%E6%95%A3%E7%86%B1%E4%BB%B6-3.8-5.6-9.0mm-iput6z1a1e-i.1144085257.26012425411?xptdk=c147c8ce-f447-4c94-ae70-3e91ff0cd098
8093
Raspberry Pi 5 | mouser | 4GB | 2040

## Fluorescent Microspheres
| Description | Dia. | weight | price | Link
FMG-1.3 1-5um - 500mg | FMG - Green Fluorescent Microspheres 1.3g/cc 1-5um - 500mg | 1-5um | 0.5g | 138.7 | FMG - Green UV Fluorescent Polymer Microspheres, Particles, Powder - Density 1.3g/cc 1-5micron (um) - In Stock